## Slide 1
Statistical analysis of noise in MRI:
Noise modeling
Santiago Aja-Fernández,
Laboratorio de Procesado de Imagen. Universidad de Valladolid (Spain)
www.lpi.tel.uva.es sanaja@tel.uva.es
OCTOBER 2016
Universidad de Valladolid
E.T.S. Ingenieros de Telecomunicación

## Slide 2
2

## Slide 3: Image Processing Lab
Noise models
3
Funded in 1997, the LPI is an officially recognized research group by the UVa since 2005
Its main activity falls mainly in medical image analysis and biomedical signal processing
It has captured funds by a total amount of more than 1,5 M€ from sources including several regional, national and European grant numbers
It is currently constituted by 17 people, including 6 professors and 7 PhD students
www.lpi.tel.uva.es

## Slide 4
Parallel Imaging
4
Noise in MRI
Noise in MRI

## Slide 5
Noise models
5
QUESTION: Are MRI data noisy?

## Slide 6
Noise models
6

## Slide 7
Noise models
7

## Slide 8
Noise models
8

## Slide 9
Noise models
9
Diffusion phantom for ADC estimation, different b values

## Slide 10
Noise models
10
Perfusion imaging sequence in the heart

## Slide 11
Noise models
11
Noise in MRI
Affects visual quality of images
It may interfere with processing techniques
Accurate modeling of signal and noise underlies tools for processing and interpretation (MRI).

## Slide 12
Noise models
12
Motivation: Why a statistical model?
Noise estimation
Filtering techniques: Conventional approach, LMMSE filter, Maximum likelihood…
Parameter estimation
Model based segmentation
In DWI: Diffusion tensor estimation (the model assures the good estimation)

## Slide 13
Noise models
13

## Slide 14
Noise models
14
Outline
Complex model for each coil
Single coil acquisition
Multiple coil
Simplified models
pMRI: SENSE and GRAPPA

## Slide 15
1- Complex model for each coil

## Slide 16
16
Scanner
K-space
X-space
(complex)
F-1
Noise model for each coil
Complex Gaussian
s2K
Complex Gaussian
s2n=s2K /|W|
Noise models

## Slide 17
Noise models
17

## Slide 18
18
F-1
Complex Gaussian
s2Ki
Complex Gaussian
s2i=s2Ki /|W|
r12
s2K2
s2K3
s2K4
s21
s22
s23
s24
r23
r34
r14
r12
r14
r34
r23
s2K1

## Slide 19
19
Noise model for each coil
Noise models

## Slide 20
2- Single coil: the Rician Distribution

## Slide 21
21
K-space
X-space (complex)
Magnitude
F-1
| . |
Single coil: the Rician distribution
Complex Gaussian
s2K
Complex Gaussian
s2n=s2K /|W|
Rician
s2n
Noise models

## Slide 22
Noise models
22

## Slide 23
Noise models
23
Complex
Magnitude
Rician
Rayleigh
Rician Model

## Slide 24
Noise models
24
Rician
Gaussian
sn
Meaning of sn?
SNR=A / sn

## Slide 25
3- Multiple coil (non acceletared)

## Slide 26
26
Multiple coil acquisition
Noise models
Complex Gaussian
s2i=s2Ki /|W|
s21
s22
s23
s24
r12
r14
r34
r23
Particular case:
s2i= s2j = s2n
rij = 0
S = s2n ·I

## Slide 27
Noise models
27

## Slide 28
Noise models
28
Non-central chi model
Non Central Chi
Central Chi

## Slide 29
Noise models
29
Basic models:
Rician: relation between s2n and variance of noise in Gaussian complex data.
Nc-chi: also relation between s2n and Gaussian Variance.
Nc-chi: many times, interesting parameter s2n·L
  E{M(x)2}=A(x)2+2L·s2n
  SNR=A(x)/L1/2·sn
  Usually: equivalence between L·s2n (nc-chi) and s2n (Rician).

## Slide 30
Noise models
30
Example: Conventional approach
Rician
Noncentral-chi

## Slide 31
Noise models
31
Example: LMMSE filter
Rician
Noncentral-chi

## Slide 32
Noise models
32
Limitation of the nc-chi model:
Only valid if:
Same variance of noise in each coil
No correlation between coils
No acceleration
Reconstruction done with sum of squares
Real acquisitions.
Correlated, different variances
Accelerated
Reconstructed with different methods

## Slide 33
Noise models
33
Effect of Correlations
s21
s22
s23
s24
r12
r14
r34
r23
Sum of Squares
Nc-chi no longer valid!!!

## Slide 34
Noise models
34

## Slide 35
Noise models
35

## Slide 36
4- Simplified models

## Slide 37
Noise models
37
Simplified models:
Rician and nc-chi models for high SNR (usually SNR>3) can be assumed Gaussian
Rician:
M(x)≈A(x)+nr(sn2)
Nc-chi:
ML(x) ≈AT(x)+nr(sT2)
If correlations considered: sT = sT(x)

## Slide 38
5- Parallel Imaging

## Slide 39
Noise models
39
pMRI

## Slide 40
Noise models
40
SENSE

## Slide 41
Noise models
41

## Slide 42
Noise models
42

## Slide 43
Noise models
43
GRAPPA

## Slide 44
Noise models
44

## Slide 45
Noise models
45

## Slide 46
Noise models
46

## Slide 47
Noise models
47
Final remarks
Statistical modeling: useful!
Stationary Rician model: not the only model
Stationarity: important issue
(Unknown) processes in the scanner change the model
Consider simplifications: Gaussian model

## Slide 48
Statistical Analysis
of Noise in MRI
Springer

## Slide 49
Questions?

## Slide 50
Statistical analysis of noise in MRI:
Noise modeling
Santiago Aja-Fernández,
Laboratorio de Procesado de Imagen. Universidad de Valladolid (Spain)
www.lpi.tel.uva.es sanaja@tel.uva.es
OCTOBER 2016
Universidad de Valladolid
E.T.S. Ingenieros de Telecomunicación